## copyofcsv
C | MTPASA_REPORT
I | RUN_DATETIME
D | 2006-08-15 11:02
I | INTERVAL_DATE | PEAKLOAD_MEAN | PEAKLOAD_MEANP1SD | PEAKLOAD_MEANP2SD | INSTALLED_GENERATION | AVAILABLE_GENERATION | AVAILABLE_DEMANDRESPONSE | UNSECURE_CAPACITY_MARGIN | TRANSMISSION_CONSTRAINT_QTY | AVAILABLE_SUPPLY_CAPACITY | CAPACITY_PLANNING_MARGIN | RESERVE_CAPACITY_REQ | LOWCAPACITYRES_COND | LOAD_FOLLOW_AS_CAPREQ | LOWLOADFOLOW_COND | SPINRES_AS_CAPREQ | LOWSPINRES_COND | READYRES_CAPREQ |  | LOADREJECT_ASREQ | LOWLOADREJECTRES_COND | CAPACITY_PL_RESERVES_REQ
D | 2006-09-03 | 2510 | 2639 | 2762 | 4013 | 3426 | 120 | -784 | 0 | 3546 | 784 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-09-10 | 2474 | 2592 | 2688 | 4013 | 3556 | 120 | -988 | 0 | 3676 | 988 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-09-17 | 2445 | 2568 | 2662 | 4013 | 3551 | 120 | -1009 | 0 | 3671 | 1009 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-09-24 | 2412 | 2519 | 2621 | 4013 | 3551 | 120 | -1050 | 0 | 3671 | 1050 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-10-01 | 2373 | 2481 | 2593 | 4013 | 3551 | 120 | -1078 | 0 | 3671 | 1078 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-10-08 | 2350 | 2441 | 2517 | 4013 | 3551 | 120 | -1154 | 0 | 3671 | 1154 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-10-15 | 2319 | 2390 | 2451 | 4013 | 3551 | 120 | -1220 | 0 | 3671 | 1220 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-10-22 | 2306 | 2388 | 2477 | 4013 | 3447 | 120 | -1090 | 0 | 3567 | 1090 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-10-29 | 2294 | 2385 | 2524 | 4013 | 3623 | 120 | -1219 | 0 | 3743 | 1219 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-11-05 | 2284 | 2413 | 2582 | 4013 | 3623 | 120 | -1161 | 0 | 3743 | 1161 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-11-12 | 2311 | 2470 | 2677 | 4013 | 3587 | 120 | -1030 | 0 | 3707 | 1030 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-11-19 | 2374 | 2571 | 2845 | 4013 | 3777 | 120 | -1052 | 0 | 3897 | 1052 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-11-26 | 2423 | 2660 | 2917 | 4013 | 3805 | 120 | -1008 | 0 | 3925 | 1008 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-12-03 | 2488 | 2785 | 3094 | 3975 | 3775 | 120 | -801 | 0 | 3895 | 801 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-12-10 | 2531 | 2888 | 3139 | 3883 | 3683 | 120 | -664 | 0 | 3803 | 664 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-12-17 | 2541 | 2898 | 3214 | 3819 | 3814 | 120 | -720 | 0 | 3934 | 720 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-12-24 | 2539 | 2898 | 3214 | 3819 | 3814 | 120 | -720 | 0 | 3934 | 720 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2006-12-31 | 2633 | 3050 | 3307 | 3909 | 3909 | 120 | -722 | 0 | 4029 | 722 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-01-07 | 2714 | 3125 | 3344 | 3909 | 3909 | 120 | -685 | 0 | 4029 | 685 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-01-14 | 2761 | 3161 | 3381 | 3909 | 3909 | 120 | -648 | 0 | 4029 | 648 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-01-21 | 2804 | 3197 | 3426 | 3909 | 3909 | 120 | -603 | 0 | 4029 | 603 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-01-28 | 2849 | 3206 | 3425 | 3909 | 3909 | 120 | -604 | 0 | 4029 | 604 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-02-04 | 2823 | 3179 | 3422 | 3909 | 3909 | 120 | -607 | 0 | 4029 | 607 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-02-11 | 2779 | 3161 | 3418 | 3909 | 3909 | 120 | -611 | 0 | 4029 | 611 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-02-18 | 2800 | 3209 | 3413 | 3909 | 3909 | 120 | -616 | 0 | 4029 | 616 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-02-25 | 2780 | 3152 | 3390 | 3909 | 3909 | 120 | -639 | 0 | 4029 | 639 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-03-04 | 2699 | 3008 | 3269 | 3909 | 3909 | 120 | -760 | 0 | 4029 | 760 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-03-11 | 2656 | 2948 | 3213 | 3917 | 3917 | 120 | -824 | 0 | 4037 | 824 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-03-18 | 2613 | 2883 | 3156 | 4011 | 4011 | 120 | -975 | 0 | 4131 | 975 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-03-25 | 2532 | 2748 | 2958 | 4103 | 4103 | 120 | -1265 | 0 | 4223 | 1265 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-04-01 | 2456 | 2615 | 2775 | 3983 | 3618 | 120 | -963 | 0 | 3738 | 963 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-04-08 | 2429 | 2556 | 2667 | 3983 | 3498 | 120 | -951 | 0 | 3618 | 951 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-04-15 | 2415 | 2505 | 2632 | 3983 | 3498 | 120 | -986 | 0 | 3618 | 986 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-04-22 | 2428 | 2507 | 2630 | 3983 | 3498 | 120 | -988 | 0 | 3618 | 988 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-04-29 | 2458 | 2545 | 2608 | 3983 | 3498 | 120 | -1010 | 0 | 3618 | 1010 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-05-06 | 2476 | 2566 | 2640 | 3863 | 3498 | 120 | -978 | 0 | 3618 | 978 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-05-13 | 2524 | 2621 | 2698 | 3863 | 3378 | 120 | -800 | 0 | 3498 | 800 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-05-20 | 2594 | 2705 | 2790 | 3863 | 3138 | 120 | -468 | 0 | 3258 | 468 | 300 | 0 | 40 | 0 | 133 | 1 | 100 | 0 | 150 | 0 | 573
D | 2007-05-27 | 2662 | 2777 | 2876 | 3863 | 3358 | 120 | -602 | 0 | 3478 | 602 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-06-03 | 2734 | 2854 | 2968 | 3863 | 3378 | 120 | -530 | 0 | 3498 | 530 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-06-10 | 2781 | 2910 | 3033 | 3863 | 3378 | 120 | -465 | 0 | 3498 | 465 | 300 | 0 | 40 | 0 | 133 | 1 | 100 | 0 | 150 | 0 | 573
D | 2007-06-17 | 2813 | 2949 | 3103 | 3863 | 3863 | 120 | -880 | 0 | 3983 | 880 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-06-24 | 2833 | 2976 | 3124 | 3863 | 3863 | 120 | -859 | 0 | 3983 | 859 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-07-01 | 2846 | 2991 | 3084 | 4003 | 4003 | 120 | -1039 | 0 | 4123 | 1039 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-07-08 | 2845 | 2989 | 3087 | 4003 | 4003 | 120 | -1036 | 0 | 4123 | 1036 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-07-15 | 2784 | 2924 | 3033 | 4003 | 4003 | 120 | -1090 | 0 | 4123 | 1090 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-07-22 | 2723 | 2863 | 3002 | 4003 | 4003 | 120 | -1121 | 0 | 4123 | 1121 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-07-29 | 2717 | 2874 | 2983 | 4003 | 4003 | 120 | -1140 | 0 | 4123 | 1140 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-08-05 | 2707 | 2863 | 2939 | 4003 | 4003 | 120 | -1184 | 0 | 4123 | 1184 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-08-12 | 2690 | 2840 | 2922 | 4003 | 4003 | 120 | -1201 | 0 | 4123 | 1201 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-08-19 | 2672 | 2809 | 2903 | 4003 | 4003 | 120 | -1220 | 0 | 4123 | 1220 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-08-26 | 2649 | 2767 | 2897 | 4003 | 4003 | 120 | -1226 | 0 | 4123 | 1226 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-09-02 | 2606 | 2730 | 2852 | 4003 | 4003 | 120 | -1271 | 0 | 4123 | 1271 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-09-09 | 2573 | 2690 | 2789 | 4003 | 3983 | 120 | -1314 | 0 | 4103 | 1314 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-09-16 | 2546 | 2660 | 2765 | 4003 | 4003 | 120 | -1358 | 0 | 4123 | 1358 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-09-23 | 2515 | 2631 | 2738 | 4003 | 4003 | 120 | -1385 | 0 | 4123 | 1385 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-09-30 | 2461 | 2563 | 2651 | 4383 | 4347 | 120 | -1816 | 0 | 4467 | 1816 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-10-07 | 2453 | 2549 | 2650 | 4383 | 4347 | 120 | -1817 | 0 | 4467 | 1817 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-10-14 | 2423 | 2506 | 2600 | 4383 | 4347 | 120 | -1867 | 0 | 4467 | 1867 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-10-21 | 2396 | 2472 | 2571 | 4383 | 4347 | 120 | -1896 | 0 | 4467 | 1896 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-10-28 | 2379 | 2464 | 2567 | 4383 | 4383 | 120 | -1936 | 0 | 4503 | 1936 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-11-04 | 2361 | 2468 | 2599 | 4383 | 4053 | 120 | -1574 | 0 | 4173 | 1574 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-11-11 | 2382 | 2553 | 2814 | 4383 | 4347 | 120 | -1653 | 0 | 4467 | 1653 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-11-18 | 2439 | 2636 | 2958 | 4383 | 4383 | 120 | -1545 | 0 | 4503 | 1545 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-11-25 | 2495 | 2723 | 2984 | 4383 | 4383 | 120 | -1519 | 0 | 4503 | 1519 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-12-02 | 2570 | 2857 | 3127 | 4355 | 4355 | 120 | -1348 | 0 | 4475 | 1348 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-12-09 | 2629 | 2971 | 3263 | 4267 | 4235 | 120 | -1092 | 0 | 4355 | 1092 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-12-16 | 2658 | 3027 | 3303 | 4197 | 4197 | 120 | -1014 | 0 | 4317 | 1014 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-12-23 | 2650 | 3015 | 3246 | 4197 | 4197 | 120 | -1071 | 0 | 4317 | 1071 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2007-12-30 | 2713 | 3103 | 3328 | 4197 | 4197 | 120 | -989 | 0 | 4317 | 989 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-01-06 | 2795 | 3227 | 3425 | 4197 | 4197 | 120 | -892 | 0 | 4317 | 892 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-01-13 | 2852 | 3285 | 3469 | 4197 | 4197 | 120 | -848 | 0 | 4317 | 848 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-01-20 | 2889 | 3320 | 3581 | 4197 | 4197 | 120 | -736 | 0 | 4317 | 736 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-01-27 | 2953 | 3332 | 3607 | 4197 | 4197 | 120 | -710 | 0 | 4317 | 710 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-02-03 | 2943 | 3319 | 3600 | 4197 | 4197 | 120 | -717 | 0 | 4317 | 717 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-02-10 | 2894 | 3299 | 3575 | 4197 | 4197 | 120 | -742 | 0 | 4317 | 742 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-02-17 | 2899 | 3336 | 3565 | 4197 | 4197 | 120 | -752 | 0 | 4317 | 752 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-02-24 | 2889 | 3300 | 3556 | 4197 | 4197 | 120 | -761 | 0 | 4317 | 761 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-03-02 | 2833 | 3181 | 3489 | 4197 | 4197 | 120 | -828 | 0 | 4317 | 828 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-03-09 | 2785 | 3116 | 3360 | 4197 | 4197 | 120 | -957 | 0 | 4317 | 957 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-03-16 | 2726 | 3030 | 3251 | 4271 | 4271 | 120 | -1140 | 0 | 4391 | 1140 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-03-23 | 2646 | 2891 | 3136 | 4355 | 4355 | 120 | -1339 | 0 | 4475 | 1339 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-03-30 | 2565 | 2734 | 2905 | 4383 | 4383 | 120 | -1598 | 0 | 4503 | 1598 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-04-06 | 2538 | 2684 | 2816 | 4143 | 4107 | 120 | -1411 | 0 | 4227 | 1411 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-04-13 | 2506 | 2610 | 2727 | 4143 | 4107 | 120 | -1500 | 0 | 4227 | 1500 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-04-20 | 2513 | 2596 | 2668 | 4143 | 4143 | 120 | -1595 | 0 | 4263 | 1595 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-04-27 | 2526 | 2605 | 2665 | 4143 | 4143 | 120 | -1598 | 0 | 4263 | 1598 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-05-04 | 2558 | 2642 | 2704 | 4143 | 4143 | 120 | -1559 | 0 | 4263 | 1559 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-05-11 | 2595 | 2688 | 2764 | 4143 | 4143 | 120 | -1499 | 0 | 4263 | 1499 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-05-18 | 2658 | 2774 | 2869 | 4143 | 4143 | 120 | -1394 | 0 | 4263 | 1394 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-05-25 | 2732 | 2868 | 2973 | 4143 | 4143 | 120 | -1290 | 0 | 4263 | 1290 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-06-01 | 2821 | 2966 | 3062 | 4143 | 4143 | 120 | -1201 | 0 | 4263 | 1201 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-06-08 | 2877 | 3039 | 3139 | 4143 | 4143 | 120 | -1124 | 0 | 4263 | 1124 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-06-15 | 2937 | 3079 | 3212 | 4143 | 4143 | 120 | -1051 | 0 | 4263 | 1051 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-06-22 | 2985 | 3136 | 3274 | 4143 | 4143 | 120 | -989 | 0 | 4263 | 989 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-06-29 | 3024 | 3175 | 3298 | 4143 | 4143 | 120 | -965 | 0 | 4263 | 965 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-07-06 | 3029 | 3170 | 3300 | 4143 | 4143 | 120 | -963 | 0 | 4263 | 963 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-07-13 | 2993 | 3126 | 3281 | 4143 | 4143 | 120 | -982 | 0 | 4263 | 982 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-07-20 | 2945 | 3095 | 3260 | 4143 | 4143 | 120 | -1003 | 0 | 4263 | 1003 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-07-27 | 2937 | 3079 | 3247 | 4143 | 4143 | 120 | -1016 | 0 | 4263 | 1016 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-08-03 | 2912 | 3068 | 3214 | 4143 | 4143 | 120 | -1049 | 0 | 4263 | 1049 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-08-10 | 2902 | 3048 | 3190 | 4143 | 4143 | 120 | -1073 | 0 | 4263 | 1073 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-08-17 | 2896 | 3060 | 3166 | 4143 | 4143 | 120 | -1097 | 0 | 4263 | 1097 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-08-24 | 2878 | 3034 | 3122 | 4143 | 4143 | 120 | -1141 | 0 | 4263 | 1141 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-08-31 | 2838 | 2984 | 3086 | 4143 | 4143 | 120 | -1177 | 0 | 4263 | 1177 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-09-07 | 2783 | 2915 | 3010 | 4143 | 4143 | 120 | -1253 | 0 | 4263 | 1253 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-09-14 | 2751 | 2872 | 2973 | 4143 | 4143 | 120 | -1290 | 0 | 4263 | 1290 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-09-21 | 2717 | 2853 | 2936 | 4143 | 4143 | 120 | -1327 | 0 | 4263 | 1327 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-09-28 | 2674 | 2782 | 2860 | 4493 | 4493 | 120 | -1753 | 0 | 4613 | 1753 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-10-05 | 2660 | 2754 | 2836 | 4493 | 4493 | 120 | -1777 | 0 | 4613 | 1777 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-10-12 | 2631 | 2721 | 2809 | 4493 | 4493 | 120 | -1804 | 0 | 4613 | 1804 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-10-19 | 2606 | 2688 | 2786 | 4493 | 4493 | 120 | -1827 | 0 | 4613 | 1827 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-10-26 | 2585 | 2674 | 2789 | 4493 | 4493 | 120 | -1824 | 0 | 4613 | 1824 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-11-02 | 2562 | 2704 | 2923 | 4493 | 4493 | 120 | -1690 | 0 | 4613 | 1690 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-11-09 | 2572 | 2735 | 2984 | 4493 | 4493 | 120 | -1629 | 0 | 4613 | 1629 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-11-16 | 2626 | 2840 | 3137 | 4493 | 4493 | 120 | -1476 | 0 | 4613 | 1476 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-11-23 | 2683 | 2902 | 3256 | 4493 | 4493 | 120 | -1357 | 0 | 4613 | 1357 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-11-30 | 2759 | 3034 | 3273 | 4493 | 4493 | 120 | -1340 | 0 | 4613 | 1340 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-12-07 | 2840 | 3226 | 3537 | 4405 | 4405 | 120 | -988 | 0 | 4525 | 988 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-12-14 | 2853 | 3279 | 3578 | 4567 | 4567 | 120 | -1109 | 0 | 4687 | 1109 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-12-21 | 2894 | 3328 | 3627 | 4567 | 4567 | 120 | -1060 | 0 | 4687 | 1060 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2008-12-28 | 2894 | 3328 | 3627 | 4567 | 4567 | 120 | -1060 | 0 | 4687 | 1060 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-01-04 | 3010 | 3460 | 3692 | 4567 | 4567 | 120 | -995 | 0 | 4687 | 995 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-01-11 | 3066 | 3507 | 3765 | 4567 | 4567 | 120 | -922 | 0 | 4687 | 922 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-01-18 | 3089 | 3549 | 3810 | 4567 | 4567 | 120 | -877 | 0 | 4687 | 877 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-01-25 | 3152 | 3578 | 3819 | 4567 | 4567 | 120 | -868 | 0 | 4687 | 868 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-02-01 | 3187 | 3572 | 3821 | 4567 | 4567 | 120 | -866 | 0 | 4687 | 866 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-02-08 | 3144 | 3522 | 3792 | 4567 | 4567 | 120 | -895 | 0 | 4687 | 895 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-02-15 | 3106 | 3550 | 3789 | 4567 | 4567 | 120 | -898 | 0 | 4687 | 898 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-02-22 | 3101 | 3555 | 3782 | 4567 | 4567 | 120 | -905 | 0 | 4687 | 905 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-03-01 | 3054 | 3458 | 3759 | 4567 | 4567 | 120 | -928 | 0 | 4687 | 928 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-03-08 | 3000 | 3338 | 3643 | 4567 | 4567 | 120 | -1044 | 0 | 4687 | 1044 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-03-15 | 2948 | 3269 | 3490 | 4613 | 4613 | 120 | -1243 | 0 | 4733 | 1243 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-03-22 | 2877 | 3149 | 3381 | 4683 | 4683 | 120 | -1422 | 0 | 4803 | 1422 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-03-29 | 2779 | 2978 | 3203 | 4713 | 4713 | 120 | -1630 | 0 | 4833 | 1630 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-04-05 | 2730 | 2888 | 3045 | 4493 | 4493 | 120 | -1568 | 0 | 4613 | 1568 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-04-12 | 2696 | 2814 | 2925 | 4493 | 4493 | 120 | -1688 | 0 | 4613 | 1688 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-04-19 | 2698 | 2781 | 2867 | 4493 | 4493 | 120 | -1746 | 0 | 4613 | 1746 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-04-26 | 2721 | 2807 | 2884 | 4493 | 4493 | 120 | -1729 | 0 | 4613 | 1729 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-05-03 | 2754 | 2838 | 2919 | 4493 | 4493 | 120 | -1694 | 0 | 4613 | 1694 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-05-10 | 2800 | 2894 | 2959 | 4493 | 4493 | 120 | -1654 | 0 | 4613 | 1654 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-05-17 | 2861 | 2981 | 3082 | 4493 | 4493 | 120 | -1531 | 0 | 4613 | 1531 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-05-24 | 2943 | 3064 | 3208 | 4493 | 4493 | 120 | -1405 | 0 | 4613 | 1405 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-05-31 | 3038 | 3170 | 3295 | 4493 | 4493 | 120 | -1318 | 0 | 4613 | 1318 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-06-07 | 3089 | 3241 | 3332 | 4493 | 4493 | 120 | -1281 | 0 | 4613 | 1281 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-06-14 | 3125 | 3285 | 3383 | 4493 | 4493 | 120 | -1230 | 0 | 4613 | 1230 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-06-21 | 3159 | 3320 | 3480 | 4493 | 4493 | 120 | -1133 | 0 | 4613 | 1133 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-06-28 | 3176 | 3335 | 3474 | 4493 | 4493 | 120 | -1139 | 0 | 4613 | 1139 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-07-05 | 3163 | 3332 | 3444 | 4493 | 4493 | 120 | -1169 | 0 | 4613 | 1169 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-07-12 | 3124 | 3287 | 3398 | 4493 | 4493 | 120 | -1215 | 0 | 4613 | 1215 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-07-19 | 3052 | 3215 | 3362 | 4493 | 4493 | 120 | -1251 | 0 | 4613 | 1251 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-07-26 | 3038 | 3211 | 3374 | 4493 | 4493 | 120 | -1239 | 0 | 4613 | 1239 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-08-02 | 3030 | 3192 | 3361 | 4493 | 4493 | 120 | -1252 | 0 | 4613 | 1252 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-08-09 | 3025 | 3187 | 3384 | 4493 | 4493 | 120 | -1229 | 0 | 4613 | 1229 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-08-16 | 3007 | 3162 | 3344 | 4493 | 4493 | 120 | -1269 | 0 | 4613 | 1269 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
D | 2009-08-23 | 2978 | 3124 | 3259 | 4493 | 4493 | 120 | -1354 | 0 | 4613 | 1354 | 300 | 0 | 40 | 0 | 133 | 0 | 100 | 0 | 150 | 0 | 573
I | OUTAGE_START_DATETIME | OUTAGE_END_DATETIME | TRANSMISSION_ELEMENT | INTERREGIONCAPACITY | INTEREGIONLIMIT | GENERATION_CONSTRAINED | GENERATION_CONSTRAINED_QTY
D | 2006-09-13 | 2006-09-13 | MU-ST/KEM91 & KW-KEM91
D | 2006-09-11 | 2006-09-12 | KW-KEM91
D | 2006-09-13 | 2006-09-18 | KW-KEM91
D | 2006-09-25 | 2006-09-25 | KW-KEM91
D | 2006-09-04 | 2006-09-09 | MU-ST-KEM91 & KW-KEM91
D | 2006-09-13 | 2006-09-18 | MU-ST-KEM91
D | 2006-09-11 | 2006-09-13 | MU-ST/KEM91
D | 2006-09-04 | 2006-09-09 | SHO-ST91
D | 2006-09-19 | 2006-09-24 | SHO-ST91
D | 2006-09-25 | 2006-09-25 | SHO-ST/OLY 91
D | 2006-09-05 | 2006-09-15 | NT-ST91
D | 2006-09-12 | 2006-09-12 | MU-ST/KEM91
D | 2006-09-13 | 2006-09-13 | MU-ST/KEM91(MU LEG)
D | 2006-10-21 | 2006-10-27 | APJ/CT-WGP81
D | 2006-09-08 | 2006-09-08 | KW-ST81
D | 2006-09-09 | 2006-09-10 | NT-TX2
D | NIL
I | SECURITY PROBLEMS
D | NIL
I | FUEL LIMITATIONS
D | NIL
I | DATA REPLACEMENT
D | NIL
I | COMMISSIONING TEST
D | NIL
I | ADDITIONAL COMMENTS
D | WAMBO ASSUMED COMMISSIONED IN OCTOBER 2008, BLUEWATERS 1 ASSUMED COMMISSIONED IN DECEMBER 2008
C | END OF FILE