## Slide 1: DER Register
Briefing pack
6 August 2019

## Slide 2: Background

## Slide 3: Rule objectives
AEMC view that the DER Register will advance the NEO by increasing visibility of DER, leading to
Enhanced planning and investment decisions and asset optimisation by NSPs
Improve operational decisions by AEMO’s with visibility of DER and its operational characteristics (i.e. trip and control settings)
Enhance policy and investment decisions through public reporting on DER
Scope
For DNSPs: All non-registered embedded generation below 30 MW
For TNSPs: All non-registered generation below 30 MW

## Slide 4: Rule obligations
AEMO must | NSP must
Establish, maintain and update a DER Register Develop, maintain and publish DER Register Information Guidelines Share disaggregated data with NSPs DER Register Report on website Consider DER information in forecasting, planning, operational decisions Share information with emergency services | Adhere to AEMO’s DER Register Information Guidelines to provide ‘DER generation information’ Collect and submit ‘DER generation information’ as it relates to ‘connection points’ Update connection frameworks to support provision of ‘DER generation information’ from connection applicants (including offer terms) Provide AEMO with known existing ‘DER generation information’ for their network
New Rule 3.7E and amending changes to cl. 4.9.1, 5.3.3 and Chapter 5A made on 13 September 2018 places obligations on AEMO and NSPs, which AEMO has used to inform DER Register system design

## Slide 5: Design consultation
AEMC Final Rule Change
SEP 2018
Industry pre-consultation workshop
NOV 2018
DNSP meeting on data model
DEC 2018
Formal consultation commenced
JAN 2019
Industry meeting on collection
58 attendees
from 30 companies
Released issues paper and notice of first stage consultation
24 attendees
from 11 DNSPs
Feb 2019
40 attendees
from 20 companies
(inc. DNSPs, App developers, CER, CEC, Smart Energy Council, etc)
Released collection process discussion paper
14 formal submissions received in response to the January Issues paper
Draft Guidelines and report published
MAR 2019
Final Guidelines
Implementation Planning
MAY 2019
12 formal submissions received to draft
Final Guidelines and report published
Final Guidelines are available online:
https://www.aemo.com.au/Stakeholder-Consultation/Consultations/NEM-Distributed-Energy-Resources-Information-Guidelines-Consultation

## Slide 6: DER Register Key documents
DER Register Information Guidelines (NER Rule 3.7E(g)-(k))
Defines the data that NSPs are required to collect and provide to AEMO
Specifies minimum requirements for data collection, access, storage and integrity
Outlines AEMO’s proposed reporting on the data
AEMO Final Determination Report
Summarises stakeholder engagement across key issues related to the Information Guidelines
Outlines AEMO’s final Information Collection Framework design
AEMO Draft Technical Specification
Provides technical information and parameters third parties require to implement data transfer to and from the DER Register systems

## Slide 7: Connection process interfaces

## Slide 8: DER connection frameworks
Type | Voltage | Technology Type | Capacity | NER Ch 5 Process
Basic micro EG | Typically 230V | Micro EG (AS4777 compliant IES) | Less than 30kVA three phase / Less than 10kVA single phase | Basic / Standard
Low voltage | Up to 1kV | IES | > 30kVA three phase / Greater than 10kVA single phase (up to network hosting capacity specified by DNSP) | Negotiated
 |  | Non-inverter based | Any size (up to network hosting capacity specified by DNSP) | 
Medium voltage | 1kV - 35kV | Any | Any size (up to network hosting capacity specified by DNSP) | 
High voltage | >35kV | Any | Less than 5MW for NEM and less than 10MW for WEM | 
Registered generator | >35kV | Any | Greater than 5MW for NEM and greater than 10MW for WEM | 
To achieve efficient implementation AEMO is seeking to avoid duplication
Existing connection frameworks create context
ENA Connection guidelines:

## Slide 9: AEMO is enabling optionality
NSP implementation of connection rules has led to different business processes
DER Register system design caters for these differences

## Slide 10: Data

## Slide 11: Data model to be provided with connection and DER commissioning
Relationships between levels
 | Description
Level 1: DER Installation | This level applies to a DER at a NMI DER installation in aggregate. Records the Master NMI record information as per the MSATS Procedures. Each NMI may have many DER Installations referenced to it. Each DER Installation may only be associated with 1 NMI. Each DER installation may have many AC connections related to it.
Level 2: AC connection | Each Inverter is uniquely identified by NMI and ACconnectionID. Each AC connection may only be associated with 1 DER Installation. Each AC connection may have many DER devices related to it. A DER installation comprises an AC Connector and the DER Devices connected to it.
Level 3: DER Devices | Each DER Device is uniquely identified by NMI, ACconnectionID and DeviceID. Contains information relating to the DER Device specifications (e.g. solar panel, battery cell, etc), including device type, nominal capacity, etc. A DER device may be one or many devices that have exactly the same specifications. Each DER Device is related to a single AC connection.

## Slide 12: Data source
Connection process | Expected users | Role of NSP default data | Role of databases (e.g. CEC) | Role of AEMO
Basic / Standard | DER Retailers Electrical contractors Electricians/installers | Very high | Very high | Very low
Negotiated | Electrical contractors Engineering firms | Low | Very low | Very low
>5MW | Developers Electrical contractors Engineering firms | Very low | Very low | Very low

## Slide 13: Expectations for NSPs
    To support data collection AEMO expects NSPs to:
    Revise their model standing offers for Basic connection agreements - cl. 5A.B.2(b)(7)(iv)
    Revise their model standing offers for Standard connection agreements - cl. 5A.B.4(c)(1a)
    Revise their negotiated connection processes to define the data to be provided by applicants, and by when - cl. 5A.C.3(a)(1a)
    Revise connection offers for embedded generation to include data provision - s5A.1.B.(a)(2a)
    Provide AEMO with existing data prior to 1 December 2019 - cl. 11.108.3
    Revise business processes support the provision of data on an ongoing basis for the DER Register
    Define and include appropriate default standards data prior to implementation
Network Service
Providers
    To support data collection AEMO expects NSPs to:
    Revise their model standing offers for Basic connection agreements - cl. 5A.B.2(b)(7)(iv)
    Revise their model standing offers for Standard connection agreements - cl. 5A.B.4(c)(1a)
    Revise connection offers for embedded generation to include data provision - s5A.1.B.(a)(2a)
    Revise negotiated connection processes to include data to be provided by applicants, and by when - cl. 5A.C.3(a)(1a)
    Provide AEMO with existing data prior to 1 December 2019 - cl. 11.108.3
    Revise business processes support the provision of data on an ongoing basis for the DER Register
    Define and include appropriate default standards data prior to implementation

## Slide 14: Installer roles

## Slide 15: Installer roles
    To support data entry and validation with data provide for as-installed DER AEMO has created the opportunity for electrical contractors and tradespeople to
    Create accounts for the purpose of providing information to the DER Register
    Log in, access and update DER Records for which they have the access keys
    Review and confirm the as-installed DER data
    Alternatively NSPs can request the contractor or installer to provide the information directly to them for entry to the DER Register
Installers
    Note: installer roles are determined by the NSP’s business process
    To support data entry and validation with as-installed DER data AEMO is creating the opportunity for electrical contractors and tradespeople to
    Create accounts for the purpose of providing information to the DER Register
    Log in, access and update DER Records for which they have the access keys
    Review and confirm the as-installed DER data
    Alternatively NSPs can request the contractor or installer to provide the information directly to them for entry to the DER Register

## Slide 16: Moving forward

## Slide 17: Project status
Design consultation start
Draft Information Guidelines / Design
Build commence
Draft technical specification
NSP confirmation of initial data submission
Rule made
Final Information Guidelines / Design
AEMO open to review of initial NSP data
Testing commence
Pre-production testing
Information Guidelines effective
Industry testing
Production release
1 December 2019 Online
Review performance
Operate
Sept.
Nov
April
May
22 July
August
2 Sept
2 Sept
June
Oct
Nov
Nov
Dec-Jan
Ongoing
October
1 Dec
AEMO Program
Stakeholder Activities
Timeline
2018
2019
2020
Provision of existing data
Design consultation
Testing
System implementation
Operation

## Slide 18: Implementation consultation
May 31: Major publications released
Information Guidelines published to provide specific direction on what data AEMO requires
  Final Report published to summarise consultation, decisions and to provide an overview of the information collection framework AEMO is progressing
June-August: AEMO focus
Technology focus:
Interface design and prototyping
Data models
API development
Data integration
Technical specifications
Prototyping
Implementation planning focus:
Reset project to ready for implementation
Confirm key stakeholders
Define engagement activities
Define communications and channels
Working groups
IT Implementation
Data Integration
Stakeholder Engagement

## Slide 19: Contact
Guidelines and Collection Framework consultation page https://www.aemo.com.au/Stakeholder-Consultation/Consultations/NEM-Distributed-Energy-Resources-Information-Guidelines-Consultation Implementation Project page https://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/DER-program/DER-Register-Implementation
DERRegister@aemo.com.au